Green Acres MHP

Public Water System

Consumer Confidence Report

Template

Ohio Environmental Protection Agency

Division of Drinking and Ground Waters

www.epa.ohio.gov/ddagw

Updated March 2019

Section 1:  Title

Green Acres

Drinking Water Consumer Confidence Report 2022

Section 2:  Introduction

Green Acres has prepared the following report to provide information to you, the consumer, on the quality of our drinking water.  Included within this report is general health information, water quality test results, how to participate in decisions concerning your drinking water and water system contacts.

Section 3:  Source Water Information

Green Acres pumps an average of 2500 gallons per day from two wells. The wells draw water from a shale aquifer. The aquifer is covered by between 9 and 40 feet of low permeability material, which provides some protection from contamination. Depth to water in this aquifer is 44 to 70 feet below ground.

This assessment indicates that Green Acres’ source of drinking water has a MODERATE susceptibility to contamination due to: presence of a moderately thick protective layer of clay overlying the aquifer, moderate depth(over 44 feet below ground surface) to water, no evidence suggest that ground water has been impacted by significant levels of chemical contaminants from human activities, and no presence of significant potential contaminant sources in the protection area.

This susceptibility means that under currently existing conditions, the likelihood of the aquifer becoming contaminated is moderate. This likelihood can be minimized by implementing appropriate protective measures. This susceptibility analysis is subject to revision if new potential contaminant sources are sited within the protection area, or if water sampling indicates contamination by a manmade contaminant source.

Copies of the water source assessment are available by contacting Jason VanSickle at 419-685-1563.

Section 4:  What are sources of contamination to drinking water?

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:  (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban storm water runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, USEPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Federal Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

| Disinfectants and Disinfection By-Products | Collection Date | Highest level Detected | Range of Levels |  | MRDL | MRDLG | Units | Violaton |  | Typical Source of Contaminants |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chlorine | 2022 | 0.5 | .5-.5 |  | =4 | =4 | ppm | N |  | Water additive used to control Contamination |
| Inorganic Contaminants | Collection Date | Highest level detected | Range of levels |  | MCLG | MCL | UNITS | Violation |  | Likely source of Contamination |
| Fluoride | 6/18/2020 | 0.251 | 0.251-.251 |  | 4 | 4.0 | ppm | N |  | Erosion of natural deposits Discharge from fertilizer |
| Nitrate | 2022 | 3 | 2.92-3.06 |  | 10 | 10 | ppm | N |  | Runoff from fertilizer ,leaching from septic tanks. Erosion of natural deposits |
| Lead and Copper |  |  |  |  |  |  |  |  |  |  |
| Contaminants (units) | Collection date | 90th Percentile |  | # of samples over AL |  | MCLG | Action Level AL | Units | Violation | Typical source of Contaminants |
| Copper (ppm) | 2022 | 1.3 |  | 0 |  | 1.3 | 1.3 | ppm | N | Erosion of natural deposits leach in corrosion of household plumbing |

Section 5:  Who needs to take special precautions?

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons, such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infection.  These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791).

Section 6:  About your drinking water.

The EPA requires regular sampling to ensure drinking water safety.  The Green Acres conducted sampling for {bacteria; inorganic; radiological; synthetic organic; volatile organic} during 2022.  Samples were collected for a total of 5 different contaminants most of which were not detected in the Green Acres water supply.  The Ohio EPA requires us to monitor for some contaminants less than once per year because the concentrations of these contaminants do not change frequently.  Some of our data, though accurate, are more than one year old.

Section 7:  Table of Detected Contaminants

Listed below is information on those contaminants that were found in the Green Acres drinking water.

TABLE OF DETECTED CONTAMINANTS

Section 8: Nitrate Educational Information

Nitrate in drinking waters above 10ppm is a health risk for infants less than six months of age. High Nitrate levels in drinking water can cause blue baby syndrome. Nitrate levels may rise quickly for short periods of time or agricultural activity. If you are caring for an infant, you should ask for advice from your health care provider.

Section 9:  Lead Educational Information

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing.  Green Acres is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at 800-426-4791or at http://www.epa.gov/safewater/lead.

Section 10:  License to Operate (LTO) Status Information

In 2022 we had an unconditioned license to operate our water system.”

Section 11:  Public Participation and Contact Information

How do I participate in decisions concerning my drinking water?

While we do not hold regular meetings, customers are encouraged to participate by contacting Jason VanSickle at 419-685-1563

Section 12: Violations

The Consumer Confidence Rule requires community water systems to prepare and provide to their customers annual consumer confidence reports on water delivered to the systems.

In 2018 and 2020 we failed to provide an adequate report. These violations ended in 2021

Section 13:  Definitions of some terms contained within this report.

- Maximum Contaminant Level Goal (MCLG):  The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- Maximum Contaminant level (MCL):  The highest level of contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Maximum Residual Disinfectant Level (MRDL):  The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

- Maximum Residual Disinfectant Level Goal (MRDLG):  The level of drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Action Level (AL):  The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

- Treatment Technique (TT):  A required process intended to reduce the level of a contaminant in drinking water.

- Contact Time (CT) means the mathematical product of a “residual disinfectant concentration” (C), which is determined before or at the first customer, and the corresponding “disinfectant contact time” (T).

- Microcystins: Liver toxins produced by a number of cyanobacteria.  Total microcystins are the sum of all the variants/congeners (forms) of the cyanotoxin microcystin.

- Cyanobacteria: Photosynthesizing bacteria, also called blue-green algae, which naturally occur in marine and freshwater ecosystems, and may produce cyanotoxins, which at sufficiently high concentrations can pose a risk to public health.

- Cyanotoxin: Toxin produced by cyanobacteria.  These toxins include liver toxins, nerve toxins, and skin toxins.  Also sometimes referred to as “algal toxin”.

- Level 1 Assessment is a study of the water system to identify the potential problems and determine (if possible) why total coliform bacteria have been found in our water system.

- Level 2 Assessment is a very detailed study of the water system to identify potential problems and determine (if possible) why an E. coli MCL violation has occurred and/or why total coliform bacteria have been found in our water system on multiple occasions.

- Parts per Million (ppm) or Milligrams per Liter (mg/L) are units of measure for concentration of a contaminant.  A part per million corresponds to one second in a little over 11.5 days.

- Parts per Billion (ppb) or Micrograms per Liter (μg/L) are units of measure for concentration of a contaminant.  A part per billion corresponds to one second in 31.7 years.

- The “<” symbol: A symbol which means less than.  A result of <5 means that the lowest level that could be detected was 5 and the contaminant in that sample was not detected.

- Picocuries per liter (pCi/L):  A common measure of radioactivity.