**Green Meadows Estates**

**Annual Drinking Water Quality Report**

 **2024**

 We're pleased to present to you this year's Annual Quality Water Report. The following report to provide information to you, the consumer, on the quality of our drinking water. Included within this report is general health information, any detected water quality contaminants and your water system contact. We are continuing to make improvements to the water system as needed to assure our water is safe for our consumers. As part of the improvements in 2024 an automatic generator has be added and will start if the power is off longer than 10 seconds and will supply water during an outage.

 Along with assuring safe water the **Ohio EPA has required all water systems do a** **Lead Line** **Inventory**, Per the Lead and Copper Rule, Public Water Systems were required to develop and maintain a Service Line Inventory. A service line is the underground pipe that supplies your home or building with water. To view the Service Line Inventory, which list the material types for your location visit our web-site at stvohio.com or stop in at the office during open hours. We are pleased to inform you that no lead lines were found within the distribution lines.

 I'm pleased to report our drinking water is safe and meets federal and state requirements and we have a current, unconditional license to operate our water system. This report shows our water quality and what it means. Public participation and comments are encouraged.If you have any questions about this report or concerning your water utility, please contactRichard Jackson at 330-201-0377**.** If there is and emergencies or meetings about your water system you will be notified at your public notice location, hand delivered to each resident or in your monthly statement. On 12/2/2024 the Ohio EPA did their 3-year inspection of the water system at Green Meadows Estates, during the inspection they noted that the brine {salt tank for softeners} had some iron built up on the sides of the tank and this was a violation, the tank was emptied and cleaned. The violation resolution letter was received on 1/10/2025 and there were no other violations noted in 2024.

 This Consumer Confidence Report (CCR) reflects changes in drinking water regulatory requirements during 2016. All water systems were required to comply with the Total Coliform Rule from 1989 to March 31, 2016, and begin compliance with a new rule, the Revised Total Coliform Rule, on April 1, 2016. The new rule maintains the purpose to protect public health by ensuring the integrity of the drinking water distribution system and monitoring for the presence of total coliform bacteria, which includes E. coli bacteria. The U.S. EPA anticipates greater public health protection under the new rule, as it requires water systems that are vulnerable to microbial contamination to identify and fix problems. As a result, under the new rule there is no longer a maximum contaminant level violation for multiple total coliform detections. Instead, the new rule requires water systems that exceed a specified frequency of total coliform occurrences to conduct an assessment to determine if any significant deficiencies exist. If found, these must be corrected by the water system.

 The sources for both tap water and bottled water include rivers, lakes, streams, ponds, reservoirs, and wells. Our water source is ground water and we operate from two wells. Our wells draw water from an aquifer of sandstone and sandy shell of Cuyahoga formation and Pottsville group. It is then sent throw water softeners to remove iron, manganese and hardness after that it is chlorinated for protection in case any disease-causing organisms that may enter the system. As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

 Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. ***The presence of contaminants does not necessarily******indicate that water poses a health risk.*** More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

 Contaminants that may be present in source water include: (A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife; (B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming; (C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban storm water runoff, and residential uses; (D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban storm water runoff, and septic systems; (E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities. In order to ensure that tap water is safe to drink, EPA prescribes regulations that limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water that must provide the same protection for public health.

 Some people may be more vulnerable to contaminants in drinking water then the general population. Immune-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorder, some elderly, and infants can be particularly at risk from infection. These people should seek advice about drinking water from their health care providers. EPA / CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (1-800-426-4791.

###  The EPA requires regular sampling to ensure drinking water safety. Most contaminants were not detected in the water supply. We test for many contaminants as required by EPA. If the contaminant was detected it is listed in the table below. The Ohio EPA requires us to monitor for some contaminants less than once per year therefore some of our sample results in the following table could be more than one year old.

 In the following table you will find many terms and abbreviations you might not be familiar with. To help you better understand these terms we've provided the following definitions:

 **Parts per million (ppm) or Milligrams per liter (mg/l*)*** - one part per million corresponds to one minute in two years or a single penny in $10,000.

**Parts per billion (ppb) or Micrograms per liter (ug/l)-** one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

**Maximum Contaminant Level -** The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

**Maximum Contaminant Level Goal** - The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

 **Maximum Residual Disinfectant Level (MRDL):** The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

**Maximum Residual Disinfectant Level Goal(MRDLG):** The level of drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

 MCL’s are set at very stringent levels. To understand the possible health effects described for many regulated contaminants, a person would have to drink 2 liters of water every day at the MCL level for a lifetime to have a one-in-a-million chance of having the described health effect.

**Table of contaminants that were found in the drinking water at Green Meadows Estates**

| **Contaminants** | **MCLGorMRDLG** | **MCL,TT, orMRDL** | **Detect InYour Water** | **Range** | **SampleDate** | **Violation** | **Typical Source** |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Low** | **High** |
| **Disinfectants & Disinfection By-Products** |
| (There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants) |
| Chlorine (as C12) (ppm) | 4 | 4 | 1.5 | 0.8 | 1.9 | 2024 | No | Water additive used to control microbes |
| TTHMs [Total Trihalomethanes] (ppb) | NA | 80 | 5.9 | 4.9 | 4.9 | 2024 | No | By-product of drinking water disinfection |
|  |  |  |  |  |  |  |  |  |
| **Inorganic Contaminants** |
| Nitrate [measured as Nitrogen] (ppm) | 10 | 10 | 0.121 | 0.121 | 0.121 | 2024 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits |
| Fluoride | 4 | 4 | 1.13 | 0.13 | 0.13 | 2022 |  No | Erosion of natural deposits; Water Additive which promotes strong teeth; Discharge from fertilizer and aluminum factories |
|  |  |  |  |  |  |  |  |  |
| **Volatile Organic Contaminants Violation Typical Source** |
| **Contaminants** | **MCLG** | **MCL** | **YourWater** | **SampleDate** |  **Low** | **High** |  |  |
| **Toluene** | **1** | **1** | **0.0001** | **2022** | **0.0001** | **0.0001** | **No** | Discharge from Petroleum Factories |
| **Contaminants** | **MCLG** | **AL** | **YourWater** | **SampleDate** | **# SamplesExceeding AL** | **Exceeds AL** | **Typical Source** |  |
| **Inorganic Contaminants** |  |  |  |  |  |  |  |  |
| Copper - action level at consumer taps (ppm) | 1.3 | 1.3 | 0.08 | 2024 | 0 | 0 |  No | Corrosion of household plumbing systems; Erosion of natural deposits |
| Lead - action level at consumer taps (ppb) | 0 | 15 | 1.1 | 2024 | 0 |  0 |  No | Corrosion of household plumbing systems; Erosion of natural deposits |

**Lead educational information**: If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Green Meadows Estates is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water drinking and cooking. If you are concerned about lead in your water, testing methods and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline At <http://www.epa.gov/safewater/lead>.

 The contaminants listed above under Disinfection Byproducts comes from the chlorine that we are required by the E.P.A. to use in the drinking water to kill any kind of bacteria that may enter the water system.

 Ohio EPA recently completed a study of Green Meadows Estates source of drinking water, to identify potential contaminant sources and provide guidance on protecting the drinking water source. According to this study, the aquifer {water-rich zone } that supplies water that supplies water to Spruce Tree Village has a high susceptibility to contamination. This is based on the following: 1.Lack of a protective layer of clay/shale/other overlying the aquifer. 2. Presence of significant potential contaminant sources in the protected area. 3. Shallow depth to water {12 feet }.

 This susceptibility means that under currently existing conditions, the likelihood of the aquifer becoming contaminated is relatively high. This likelihood can be minimized by implementing appropriate protective measures. More information about the source water assessment or what consumers can do to help protect the aquifer is available by calling Richard Jackson at 330-201-0377 or by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (1-800-426-4791).

 Another way to protect your drinking water is throw backflow devices you can use on and around you home, we have included information on backflow prevention for you to review. If you have any questions about backflow devices, please call me at 330-201-0377.

Sincerely

Richard Jackson

Plant Operator